## Slide 1: 系統專題研究-物聯網中介軟體設計 Final Project 大樓智慧照明服務
D04944002 楊大煒
D05922021 李祐棠

## Slide 2: <以租代買>擁有
將照明變成一種服務
收費會比直接購買燈泡便宜
  顧客購買後，服務會一直用下去
  顧客不須管理與維護燈泡

## Slide 3: System Target: Light Monitor
大樓電燈智能監控
  監控建築物內照明設備是否需要更換
  通知維護廠商更換燈泡
  隨時添加需要監控的照明
  隨時擴展到不同的建築物
https://www.youtube.com/watch?v=agpBh4ujGWA

## Slide 4: System Target: Light Control
結合智能照明的功能，節省照明
利用PIR sensor
  室內無人一段時間自動關燈
  少人時段公共區域自動減光，節約燈具消耗

## Slide 5: Control Logic
按開關開燈，系統環境亮度設定適當的光度
Light Sensor 偵測燈光是否有正常運作，回報 server
PIR Sensor 偵測現場是否有人，適時關燈
Server 可對系統做各種設定Controller 依不同時間，調節光度/關燈

## Slide 6: 系統架構
Sensor
Light
Database
Controller

## Slide 7: Light Sensors & Light
Light Sensor and LED as light
Running on Wudevice
Sensor connect to controller using Z-WAVE, sending sensed light level and receiving control

## Slide 8: Light Sensors
Zwave_fail.mp4

## Slide 9: A general daemon
User can set server address
To upload:
  Uploadtype, uploadvalue
  Upon uploadvalue update, daemon send request to assigned server
Data field related to download:
  Server get download type, value, update to all listener

## Slide 10: Controller / Server
Controller:
  Collect Data from sensors,
  Implement all control logic
Server:
  Listen to upload data from controller
  According to dataID, extract datavalue and save to database (we implement in SQL)
  Send update command to controller

## Slide 11: System Structure
Touch Switch
Sensor Set
Controller
Sensor:
Pir sensor x1
Light sensor x1
LED x1
Wudevice x1
Edison x1
Controller:
LED x1
Touch pad x1
Edison x1
REST client x1
REST Server:
REST server x1

## Slide 12: System Structure
PIR sensor is here

## Slide 13: FBP for One Area

## Slide 14: Demo: Light Control
Adjust light with light sensor value
Lghtpattern_level.mp4

## Slide 15: Demo: Light Control
Close light based on PIR sensor
Close_wo_pir.mp4
Close_wi_pir.mp4
Notes: Left: PIR triggered signal
Right: PIR close light

## Slide 16: Demo: Upload Server
Upload data to server
severwork.mp4

## Slide 17: Demo: Server Command
Server can close light remotely, or set the time to close light without people in environment
Server_close_light.mp4
Server_set_time.mp4
Notes: Left: close light
Right: set timer

## Slide 18: Improvement to WuKong
能夠大量管理devices 的API或是介面
  自行連結新的devices，並即時deploy
  現有的介面並不適於大量 devices的管理
  諸如location 或各類資訊需要自動化的設定方式

## Slide 19: Other Problems
<WuClass name="REST_Daemon" id="2040" virtual="false" type="hard">
<property name="pir_recv" access="readwrite" datatype="short" default="0"/>
<property name="lightsensor_recv" access="readwrite" datatype="short" default="false"/>
<property name="refresh_rate" access="readwrite" datatype="refresh_rate" default="100" />
</WuClass>
Deploy Failed with very limited info:
File not found: …/wkdeploy.wkpf_linktable

## Slide 20: Other Problems
Wukong signal is not reliable.
If we set a property to 1, and back to 0 quickly, the receiver will only get one update and get 0.